## Slide 1: Titolo presentazione sottotitolo
Milano, XX mese 20XX
Development of a capacitive insole for the assessment of load distribution
Marco Banfi mat. 102328
Carlo Carraro mat. 996566
Pietro Chierico mat. 994974
Flavia Di Scala mat. 993366
Silvia Manfroni mat. 994454
Prof:
Andrea Aliverti
Tutor:
Alessandra Angelucci

## Slide 2
Introduction : Application Fields
Injury prevention
Biometric analysis
Sports performance
Footwear design
Rehabilitation support systems
Foot pressure monitoring system
Notes: Da scegliere dei garfici

## Slide 3
Capacitive Sensor: Material
0.1 mm sheet of pure copper
High efficiency
Availability
Moldability
Cheapness
Why did we choose copper?

## Slide 4
Capacitive Sensor: Hardware
Two plates
Capacitor’s dimensions
Relative movement
High thickness
Deformation of the insole
VS
One plate
Less cables
More comfortable
Cheaper
Low thickness

## Slide 5: Capacitive Sensor: Hardware
= 1MΩ
= 220 Ω
= 100 Ω
HC-05 Bluetooth modules
Transmitter
Receiver

## Slide 6
Capacitive Sensor: Flow-chart
*16 represents the microcontroller frequency (16Mhz)
*

## Slide 7
Capacitive Sensor: Software
STATIC MODE
load distribution when the patient stands up still.
Representation of load distribution through a change of the color intensity.
Graphical Interface made with PROCESSING:
DYNAMIC MODE
load distribution during time when patient walks.

## Slide 8: Future developments
Increase number of sensors on both insoles
Increase the insulation from the environment
Development of two insoles for COP analysis
Pedar software
Xsensor

## Slide 9: Firma convenzione Politecnico di Milano e Veneranda Fabbrica del Duomo di Milano
Aula Magna – Rettorato
Mercoledì 27 maggio 2015
Thank you for your kind attention!
marco7.banfi@mail.polimi.it
carlo.carraro@mail.polimi.it
pietro.chierico@mail.polimi.it
flavia.discala@mail.polimi.it
silvia.manfroni@mail.polimi.it